## Slide 1: Open-source Brain-Computer interface
KHOA CÔNG NGHỆ PHẦN MỀM
HCM-2023
OPENBCI

## Slide 2: NỘI DUNG
Giới thiệu
Cyton
3D Brain Visualizer

## Slide 4: 3D Brain Visualizer

## Slide 5: EEG Electrode Cap Kit

## Slide 6: OpenBCI developed a customizable and affordable headset

## Slide 7: OpenBCI community has developed a number of open source EEG acquisition and post-processing tools

## Slide 8: Cyton Biosensing Board (8-channels)

## Slide 9: Cyton Board Specs:
Power with 3-6V DC Battery ONLY
PIC32MX250F128B Microcontroller with chipKIT UDB32-MX2-DIP bootloader
ADS1299 Analog Front End
LIS3DH 3 axis Accelerometer
RFduino BLE radio
Micro SD card slot
Voltage Regulation (3.3V, +2.5V, -2.5V)
Board Dimensions 2.41" x 2.41" (octogon has 1" edges)
Mount holes are 1/16" ID, 0.8" x 2.166" on center
Input voltage range: +2.5 to -2.5V
Signal-Noise-Ratio: 121 dB
Voltage resolution = 0.298 microvolt/bit (5V/16777216). Resolution = Voltage level / 2^n where n is the bit-level of ADC